## Version Control
Robi Axiata Limited Third Party Security Assessment Controls
CLASSIFICATION |  | CONFIDENTIAL
Document Control
S. No. | Type of Information |  | Document Data
1 | Document Title |  | Third-Party Security Assessment
2 | Issue Date |  | 2018-11-01
3 | Issue No. |  | A
4 | Author(s) |  | Sonjoy Chakraborty
5 | Reviewer |  | Yasir Sadullah
6 | Approver |  | Md Mahbub Hasan
Document Revision History
Issue No. |  | Revision Date | Nature of Change
A |  | 2018-11-01 | New

## Cover Sheet
Robi Axiata Ltd. Third Party Security Assessment Controls
Vendor Name
Vendor Address (Including country)
Vendor web site/URL
Vendor SPOC Name
Vendor SPOC contact details (Phone & email)
Guidelines for completing the Security Audit: PLEASE DO NOT COPY/PASTE ANSWERS FROM ONE CELL TO ANOTHER.
The objective of the check list is to assess the Information Security controls available in your organization The check list items are not relevant to the solution/system/product you are proposing to Robi Axiata Only Controls tab of this document need to be filled. As best possible, ensure the questions are answered by the most appropriate individual in your organization

## Controls Applicability Matrix (hidden)
[6 empty] | URR | URT | ARR | ART | ATT | PRR | PRT
ISO 27001:2013 Domain | Sub Section | Control Objective | Control No. | Control | Statement | User access to Robi's information systems from Robi premises | User access to Robi's information systems from Third-party's premises | Admin access to Robi's information systems from Robi's premises | Admin access to Robi's information systems from Third-party's premises | Admin access to Third-party's information systems from Third-party's premises | Physical access to Robi's information/ information systems from Robi's premises | Physical access to Robi's information/ information systems from Third-party's premises
Organization of information security | A.6.1 | Internal organization | A.6.1.1 | Information security roles and responsibilities | All information security responsibilities shall be defined and allocated. | × | × | × | × | × | × | ×
|  |  | A.6.1.2 | Segregation of duties | Conflicting duties and areas of responsibility shall be segregated to reduce opportunities for unauthorized or unintentional modification or misuse of the organization’s assets. | × | × | × | √ | √ | × | ×
|  |  | A.6.1.3 | Contact with authorities | Appropriate contacts with relevant authorities shall be maintained. | × | × | × | × | √ | × | √
|  |  | A.6.1.4 | Contact with special interest groups | Appropriate contacts with special interest groups or other specialist security forums and professional associations shall be maintained. | × | × | × | × | × | × | ×
|  |  | A.6.1.5 | Information security in project management | Information security shall be addressed in project management, regardless of the type of the project. | × | × | × | × | × | × | ×
| A.6.2 | Mobile devices and teleworking | A.6.2.1 | Mobile device policy | A policy and supporting security measures shall be adopted to manage the risks introduced by using mobile devices. | × | √ | × | √ | √ | × | ×
|  |  | A.6.2.2 | Teleworking | A policy and supporting security measures shall be implemented to protect information accessed, processed or stored at teleworking sites. | × | × | × | × | √ | × | ×
Human resource security | A.7.1 | Prior to employment | A.7.1.1 | Screening | Background verification checks on all candidates for employment shall be carried out in accordance with relevant laws, regulations and ethics and shall be proportional to the business requirements, the classification of the information to be accessed and the perceived risks. | √ | √ | √ | √ | √ | √ | √
|  |  | A.7.1.2 | Terms and conditions of employment | The contractual agreements with employees and contractors shall state their and the organization’s responsibilities for information security. | × | × | × | × | × | × | ×
| A.7.2 | During employment | A.7.2.1 | Management responsibilities | Management shall require all employees and contractors to apply information security in accordance with the established policies and procedures of the organization. | × | × | × | × | × | × | ×
|  |  | A.7.2.2 | Information security awareness, education and training | All employees of the organization and, where relevant, contractors shall receive appropriate awareness education and training and regular updates in organizational policies and procedures, as relevant for their job function. | √ | √ | √ | √ | √ | √ | √
|  |  | A.7.2.3 | Disciplinary process | There shall be a formal and communicated disciplinary process in place to take action against employees who have committed an information security breach. | √ | √ | √ | √ | √ | √ | √
| A.7.3 | Termination and change of employment | A.7.3.1 | Termination or change of employment responsibilities | Information security responsibilities and duties that remain valid after termination or change of employment shall be defined, communicated to the employee or contractor and enforced. | √ | √ | √ | √ | √ | √ | √
Asset management | A.8.1 | Responsibility for assets | A.8.1.1 | Inventory of assets | Assets associated with information and information processing facilities shall be identified and an inventory of these assets shall be drawn up and maintained. | √ | √ | √ | √ | √ | √ | √
|  |  | A.8.1.2 | Ownership of assets | Assets maintained in the inventory shall be owned. | √ | √ | √ | √ | √ | √ | √
|  |  | A.8.1.3 | Acceptable use of assets | Rules for the acceptable use of information and of assets associated with information and information processing facilities shall be identified, documented and implemented. | √ | √ | √ | √ | √ | √ | √
|  |  | A.8.1.4 | Return of assets | All employees and external party users shall return all of the organizational assets in their possession upon termination of their employment, contract or agreement. | √ | √ | √ | √ | √ | √ | √
| A.8.2 | Information classification | A.8.2.1 | Classification of information | Information shall be classified in terms of legal requirements, value, criticality and sensitivity to unauthorised disclosure or modification. | √ | √ | √ | √ | √ | √ | √
|  |  | A.8.2.2 | Labelling of information | An appropriate set of procedures for information labelling shall be developed and implemented in accordance with the information classification scheme adopted by the organization. | √ | √ | √ | √ | √ | √ | √
|  |  | A.8.2.3 | Handling of assets | Procedures for handling assets shall be developed and implemented in accordance with the information classification scheme adopted by the organization. | √ | × | √ | × | √ | √ | √
| A.8.3 | Media handling | A.8.3.1 | Management of removable media | Procedures shall be implemented for the management of removable media in accordance with the classification scheme adopted by the organization. | × | √ | × | √ | √ | × | ×
|  |  | A.8.3.2 | Disposal of media | Media shall be disposed of securely when no longer required, using formal procedures. | × | √ | √ | √ | √ | × | √
|  |  | A.8.3.3 | Physical media transfer | Media containing information shall be protected against unauthorized access, misuse or corruption during transportation. | × | √ | × | √ | √ | × | √
Access control | A.9.1 | Business requirements of access control | A.9.1.1 | Access control policy | An access control policy shall be established, documented and reviewed based on business and information security requirements. | × | × | √ | √ | √ | × | √
|  |  | A.9.1.2 | Access to networks and network services | Users shall only be provided with access to the network and network services that they have been specifically authorized to use. | × | × | √ | √ | √ | × | ×
| A.9.2 | User access management | A.9.2.1 | User registration and de-registration | A formal user registration and de-registration process shall be implemented to enable assignment of access rights. | × | × | √ | √ | √ | × | ×
|  |  | A.9.2.2 | User access provisioning | A formal user access provisioning process shall be implemented to assign or revoke access rights for all user types to all systems and services. | × | × | √ | √ | √ | × | ×
|  |  | A.9.2.3 | Management of privileged access rights | The allocation and use of privileged access rights shall be restricted and controlled. | × | × | √ | √ | √ | × | ×
|  |  | A.9.2.4 | Management of secret authentication information of users | The allocation of secret authentication information shall be controlled through a formal management process. | × | × | √ | √ | √ | × | ×
|  |  | A.9.2.5 | Review of user access rights | Asset owners shall review users’ access rights at regular intervals. | × | × | √ | √ | √ | × | √
|  |  | A.9.2.6 | Removal or adjustment of access rights | The access rights of all employees and external party users to information and information processing facilities shall be removed upon termination of their employment, contract or agreement, or adjusted upon change. | × | × | √ | √ | √ | × | ×
| A.9.3 | User responsibilities | A.9.3.1 | Use of secret authentication information | Users shall be required to follow the organization’s practices in the use of secret authentication information. | √ | √ | √ | √ | √ | × | ×
|  | System and application access control | A.9.4.1 | Information access restriction | Access to information and application system functions shall be restricted in accordance with the access control policy. | × | × | √ | √ | √ | × | ×
|  |  | A.9.4.2 | Secure log-on procedures | Where required by the access control policy, access to systems and applications shall be controlled by a secure log-on procedure. | × | × | √ | √ | √ | × | ×
|  |  | A.9.4.3 | Password management system | Password management systems should be interactive and should ensure quality passwords | × | × | √ | √ | √ | × | ×
|  |  | A.9.4.4 | Use of privileged utility programs | The use of utility programs that might be capable of overriding system and application controls should be restricted and tightly controlled. | × | × | √ | √ | √ | × | ×
|  |  | A.9.4.5 | Access control to program source code | Access to program source code shall be restricted. | × | × | √ | √ | √ | × | ×
Cryptography | A.10.1 | Cryptographic controls | A.10.1.1 | Policy on the use of cryptographic controls | A policy on the use of cryptographic controls for protection of information shall be developed and implemented. | × | √ | √ | √ | √ | × | ×
|  |  | A.10.1.2 | Key management | A policy on the use, protection and lifetime of cryptographic keys shall be developed and implemented through their whole lifecycle. | × | √ | √ | √ | √ | × | ×
Physical and environmental security | A.11.1 | Secure areas | A.11.1.1 | Physical security perimeter | Security perimeters shall be defined and used to protect areas that contain either sensitive or critical information and information processing facilities. | × | √ | × | √ | √ | √ | √
|  |  | A.11.1.2 | Physical entry controls | Secure areas shall be protected by appropriate entry controls to ensure that only authorized personnel are allowed access. | × | √ | × | √ | √ | √ | √
|  |  | A.11.1.3 | Securing offices, rooms and facilities | Physical security for offices, rooms and facilities shall be designed and applied. | × | × | × | × | × | √ | ×
|  |  | A.11.1.4 | Protecting against external and environmental threats | Physical protection against natural disasters, malicious attack or accidents shall be designed and applied. | × | √ | × | √ | √ | × | √
|  |  | A.11.1.5 | Working in secure areas | Procedures for working in secure areas shall be designed and applied. | × | × | × | × | × | √ | ×
|  |  | A.11.1.6 | Delivery and loading areas | Access points such as delivery and loading areas and other points where unauthorized persons could enter the premises shall be controlled and, if possible, isolated from information processing facilities to avoid unauthorized access. | × | × | × | × | √ | √ | √
| A.11.2 | Equipment | A.11.2.1 | Equipment siting and protection | Equipment shall be sited and protected to reduce the risks from environmental threats and hazards, and opportunities for unauthorized access. | × | × | × | × | √ | √ | ×
|  |  | A.11.2.2 | Supporting utilities | Equipment shall be protected from power failures and other disruptions caused by failures in supporting utilities. | × | × | × | × | √ | √ | ×
|  |  | A.11.2.3 | Cabling security | Power and telecommunications cabling carrying data or supporting information services shall be protected from interception, interference or damage. | × | × | × | × | √ | √ | ×
|  |  | A.11.2.4 | Equipment maintenance | Equipment shall be correctly maintained to ensure its continued availability and integrity. | × | × | × | × | √ | √ | ×
|  |  | A.11.2.5 | Removal of assets | Equipment, information or software shall not be taken off-site without prior authorization. | × | √ | × | √ | √ | × | ×
|  |  | A.11.2.6 | Security of equipment and assets off-premises | Security shall be applied to off-site assets taking into account the different risks of working outside the organization’s premises. | × | √ | × | √ | √ | × | ×
|  |  | A.11.2.7 | Secure disposal or reuse of equipment | All items of equipment containing storage media shall be verified to ensure that any sensitive data and licensed software has been removed or securely overwritten prior to disposal or re-use. | × | √ | × | √ | √ | √ | ×
|  |  | A.11.2.8 | Unattended user equipment | Users shall ensure that unattended equipment has appropriate protection. | × | √ | × | √ | √ | √ | ×
|  |  | A.11.2.9 | Clear desk and clear screen policy | A clear desk policy for papers and removable storage media and a clear screen policy for information processing facilities shall be adopted. | × | √ | × | √ | √ | √ | √
Operations security | A.12.1 | Operational procedures and responsibilities | A.12.1.1 | Documented operating procedures | Operating procedures shall be documented and made available to all users who need them. | √ | √ | √ | √ | √ | √ | √
|  |  | A.12.1.2 | Change management | Changes to the organization, business processes, information processing facilities and systems that affect information security shall be controlled. | √ | √ | √ | √ | √ | × | ×
|  |  | A.12.1.3 | Capacity management | The use of resources shall be monitored, tuned and projections made of future capacity requirements to ensure the required system performance. | × | × | × | √ | √ | × | ×
|  |  | A.12.1.4 | Separation of development, testing and operational environments | Development, testing, and operational environments shall be separated to reduce the risks of unauthorized access or changes to the operational environment. | × | × | × | √ | √ | × | ×
| A.12.2 | Protection from malware | A.12.2.1 | Controls against malware` | Detection, prevention and recovery controls to protect against malware shall be implemented, combined with appropriate user awareness. | × | √ | × | √ | √ | × | ×
| A.12.3 | Backup | A.12.3.1 | Information backup | Backup copies of information, software and system images shall be taken and tested regularly in accordance with an agreed backup policy. | × | √ | √ | √ | √ | × | ×
| A.12.4 | Logging and monitoring | A.12.4.1 | Event logging | Event logs recording user activities, exceptions, faults and information security events shall be produced, kept and regularly reviewed. | × | × | √ | √ | √ | × | ×
|  |  | A.12.4.2 | Protection of log information | Logging facilities and log information shall be protected against tampering and unauthorized access. | × | × | × | √ | √ | × | ×
|  |  | A.12.4.3 | Administrator and operator logs | System administrator and system operator activities shall be logged and the logs protected and regularly reviewed. | × | × | √ | √ | √ | × | ×
|  |  | A.12.4.4 | Clock synchronisation | The clocks of all relevant information processing systems within an organization or security domain shall be synchronised to a single reference time source. | × | × | √ | √ | √ | × | ×
| A.12.5 | Control of operational software | A.12.5.1 | Installation of software on operational systems | Procedures shall be implemented to control the installation of software on operational systems. | × | × | √ | √ | √ | × | ×
| A.12.6 | Technical vulnerability management | A.12.6.1 | Management of technical vulnerabilities | Information about technical vulnerabilities of information systems being used shall be obtained in a timely fashion, the organization’s exposure to such vulnerabilities evaluated and appropriate measures taken to address the associated risk. | × | × | √ | √ | √ | × | ×
|  |  | A.12.6.2 | Restrictions on software installation | Rules governing the installation of software by users shall be established and implemented. | × | √ | √ | √ | √ | × | ×
| A.12.7 | Information systems audit considerations | A.12.7.1 | Information systems audit controls | Audit requirements and activities involving verification of operational systems shall be carefully planned and agreed to minimise disruptions to business processes. | × | × | × | × | √ | × | ×
Communications security | A.13.1 | Network security management | A.13.1.1 | Network controls | Networks shall be managed and controlled to protect information in systems and applications. | × | × | × | × | √ | × | ×
|  |  | A.13.1.2 | Security of network services | Security mechanisms, service levels and management requirements of all network services shall be identified and included in network services agreements, whether these services are provided in-house or outsourced. | × | × | × | × | √ | × | ×
|  |  | A.13.1.3 | Segregation in networks | Groups of information services, users and information systems shall be segregated on networks. | × | × | × | × | √ | × | ×
| A.13.2 | Information transfer | A.13.2.1 | Information transfer policies and procedures | Formal transfer policies, procedures and controls shall be in place to protect the transfer of information through the use of all types of communication facilities. | × | × | × | × | √ | × | ×
|  |  | A.13.2.2 | Agreements on information transfer | Agreements shall address the secure transfer of business information between the organization and external parties. | × | × | × | √ | √ | × | ×
|  |  | A.13.2.3 | Electronic messaging | Information involved in electronic messaging shall be appropriately protected. | × | × | √ | √ | √ | × | ×
|  |  | A.13.2.4 | Confidentiality or nondisclosure agreements | Requirements for confidentiality or non-disclosure agreements reflecting the organization’s needs for the protection of information shall be identified, regularly reviewed and documented. | √ | √ | √ | √ | √ | √ | √
System acquisition, development and maintenance | A.14.1 | Security requirements of information systems | A.14.1.1 | Information security requirements analysis and specification | The information security related requirements shall be included in the requirements for new information systems or enhancements to existing information systems. | × | × | √ | √ | √ | × | ×
|  |  | A.14.1.2 | Securing application services on public networks | Information involved in application services passing over public networks shall be protected from fraudulent activity, contract dispute and unauthorized disclosure and modification. | × | × | √ | √ | √ | × | ×
|  |  | A.14.1.3 | Protecting application services transactions | Information involved in application service transactions shall be protected to prevent incomplete transmission, mis-routing, unauthorized message alteration, unauthorized disclosure, unauthorized message duplication or replay. | × | × | √ | √ | √ | × | ×
| A.14.2 | Security in development and support processes | A.14.2.1 | Secure development policy | Rules for the development of software and systems shall be established and applied to developments within the organization. | × | × | √ | √ | √ | × | ×
|  |  | A.14.2.2 | System change control procedures | Changes to systems within the development lifecycle shall be controlled by the use of formal change control procedures. | × | × | √ | √ | √ | × | ×
|  |  | A.14.2.3 | Technical review of applications after operating platform changes | When operating platforms are changed, business critical applications shall be reviewed and tested to ensure there is no adverse impact on organizational operations or security. | × | × | √ | √ | √ | × | ×
|  |  | A.14.2.4 | Restrictions on changes to software packages | Modifications to software packages shall be discouraged, limited to necessary changes and all changes shall be strictly controlled. | × | × | √ | √ | √ | × | ×
|  |  | A.14.2.5 | Secure system engineering principles | Principles for engineering secure systems shall be established, documented, maintained and applied to any information system implementation efforts. | × | × | √ | √ | √ | × | ×
|  |  | A.14.2.6 | Secure development environment | Organizations shall establish and appropriately protect secure development environments for system development and integration efforts that cover the entire system development lifecycle. | × | × | √ | √ | √ | × | ×
|  |  | A.14.2.7 | Outsourced development | The organization shall supervise and monitor the activity of outsourced system development. | × | × | × | √ | √ | × | ×
|  |  | A.14.2.8 | System security testing | Testing of security functionality shall be carried out during development. | × | × | √ | √ | √ | × | ×
|  |  | A.14.2.9 | System acceptance testing | Acceptance testing programs and related criteria shall be established for new information systems, upgrades and new versions. | × | × | × | √ | √ | × | ×
| A.14.3 | Test data | A.14.3.1 | Protection of test data | Test data shall be selected carefully, protected and controlled. | × | × | √ | √ | √ | × | ×
Supplier relationships | A.15.1 | Information security in supplier relationships | A.15.1.1 | Information security policy for supplier relationships | Information security requirements for mitigating the risks associated with supplier’s access to the organization’s assets shall be agreed with the supplier and documented. | × | √ | × | √ | √ | × | √
|  |  | A.15.1.2 | Addressing security within supplier agreements | All relevant information security requirements shall be established and agreed with each supplier that may access, process, store, communicate, or provide IT infrastructure components for, the organization’s information. | × | √ | × | √ | √ | × | √
|  |  | A.15.1.3 | Information and communication technology supply chain | Agreements with suppliers shall include requirements to address the information security risks associated with information and communications technology services and product supply chain. | × | × | × | √ | √ | × | ×
| A.15.2 | Supplier service delivery management | A.15.2.1 | Monitoring and review of supplier services | Organizations shall regularly monitor, review and audit supplier service delivery. | × | √ | × | √ | √ | × | √
|  |  | A.15.2.2 | Managing changes to supplier services | Changes to the provision of services by suppliers, including maintaining and improving existing information security policies, procedures and controls, shall be managed, taking account of the criticality of business information, systems and processes involved and re-assessment of risks. | × | √ | × | √ | √ | × | √
Information security incident management | A.16.1 | Management of information security incidents and improvements | A.16.1.1 | Responsibilities and procedures | Management responsibilities and procedures shall be established to ensure a quick, effective and orderly response to information security incidents. | × | × | × | × | √ | × | √
|  |  | A.16.1.2 | Reporting information security events | Information security events shall be reported through appropriate management channels as quickly as possible. | √ | √ | √ | √ | √ | √ | √
|  |  | A.16.1.3 | Reporting information security weaknesses | Employees and contractors using the organization’s information systems and services shall be required to note and report any observed or suspected information security weaknesses in systems or services. | √ | √ | √ | √ | √ | √ | √
|  |  | A.16.1.4 | Assessment of and decision on information security events | Information security events shall be assessed and it shall be decided if they are to be classified as information security incidents. | × | × | × | × | √ | × | √
|  |  | A.16.1.5 | Response to information security incidents | Information security incidents shall be responded to in accordance with the documented procedures. | × | × | × | × | √ | × | √
|  |  | A.16.1.6 | Learning from information security incidents | Knowledge gained from analysing and resolving information security incidents shall be used to reduce the likelihood or impact of future incidents. | × | × | × | × | √ | × | √
|  |  | A.16.1.7 | Collection of evidence | The organization shall define and apply procedures for the identification, collection, acquisition and preservation of information, which can serve as evidence. | × | √ | × | √ | √ | × | √
Information security aspects of business continuity management | A.17.1 | Information security continuity | A.17.1.1 | Planning information security continuity | The organization shall determine its requirements for information security and the continuity of information security management in adverse situations, e.g. during a crisis or disaster. | × | × | × | × | √ | × | √
|  |  | A.17.1.2 | Implementing information security continuity | The organization shall establish, document, implement and maintain processes, procedures and controls to ensure the required level of continuity for information security during an adverse situation. | × | × | × | × | √ | × | √
|  |  | A.17.1.3 | Verify, review and evaluate information security continuity | The organization shall verify the established and implemented information security continuity controls at regular intervals in order to ensure that they are valid and effective during adverse situations. | × | × | × | × | √ | × | √
| A.17.2 | Redundancies | A.17.2.1 | Availability of information processing facilities | Information processing facilities shall be implemented with redundancy sufficient to meet availability requirements. | × | × | × | × | √ | × | ×
Compliance | A.18.1 | Compliance with legal and contractual requirements | A.18.1.1 | Identification of applicable legislation and contractual requirements | All relevant legislative statutory, regulatory, contractual requirements and the organization’s approach to meet these requirements shall be explicitly identified, documented and kept up to date for each information system and the organization. | √ | √ | √ | √ | √ | √ | √
|  |  | A.18.1.2 | Intellectual property rights | Appropriate procedures shall be implemented to ensure compliance with legislative, regulatory and contractual requirements related to intellectual property rights and use of proprietary software products. | √ | √ | √ | √ | √ | √ | √
|  |  | A.18.1.3 | Protection of records | Records shall be protected from loss, destruction, falsification, unauthorized access and unauthorized release, in accordance with legislatory, regulatory, contractual and business requirements. | √ | √ | √ | √ | √ | √ | √
|  |  | A.18.1.4 | Privacy and protection of personally identifiable information | Privacy and protection of personally identifiable information shall be ensured as required in relevant legislation and regulation where applicable. | √ | √ | √ | √ | √ | √ | √
|  |  | A.18.1.5 | Regulation of cryptographic controls | Cryptographic controls shall be used in compliance with all relevant agreements, legislation and regulations. | × | √ | × | √ | √ | × | ×
| A.18.2 | Information security reviews | A.18.2.1 | Independent review of information security | The organization’s approach to managing information security and its implementation (i.e. control objectives, controls, policies, processes and procedures for information security) shall be reviewed independently at planned intervals or when significant changes occur. | × | √ | × | √ | √ | × | ×
|  |  | A.18.2.2 | Compliance with security policies and standards | Managers shall regularly review the compliance of information processing and procedures within their area of responsibility with the appropriate security policies, standards and any other security requirements. | √ | √ | √ | √ | × | √ | √
|  |  | A.18.2.3 | Technical compliance review | Information systems shall be regularly reviewed for compliance with the organization’s information security policies and standards. | × | × | × | √ | √ | × | ×

## Controls
Domain | S.No | Requirements | Compliance Status | Remarks
Information Security Policies | 1 | Is there a documented information/cyber security policy in place ?
Asset management | 2 | Are media (tapes, hard disks, CDs etc.) no longer needed, disposed in a secure manner ?
Access control | 3 | Is there a documented password & user management procedure ?
Operations security | 4 | Is there a documented Change Management prcodedure ?
| 5 | Is up-to date anti-virus products installed in all laptops/PCs ?
Communications security | 6 | Is the traffic between intenel networks and internet restricted though firewalls or proxy ?
| 7 | Is remote access granted though secuere channels such as VPN ?
| 8 | Are relevant E-mail security controls implemented ?
System acquisition, development and maintenance | 9 | Are information security requiremnts considered while developing applicaions/systems?
| 10 | Are secure coding practices followed for application development?
Incident management | 11 | Is there a documented Incident Management Procedure to report ,escalate and resolve information security incidents ?
Compliance | 12 | Are all software used properly licensed ?
| 13 | Are all legal and regulertory requirments fullfilled from Cyber Security context?
Human Resource Security | 14 | Is a pre-employment verification process followed to check qualifications / experience and criminal check for all hired employees ?
| 15 | Is there a documented dicipinary process ?
Physical & environmental | 16 | Are all entrances and exits of premises secured by an access control monitoring (CCTV) system ?
| 17 | Is the premise equipped with a fire suppression system e.g., sprinklers, Co2, Halon, Intergen, FM 200 or other suppressant ?
| 18 | Have all licenses / clearances been obtained from Local Administrative Authorities / Law Enforcement Agencies for fuel storage, fire safety measures implemented and any other such requirement emerging from time to time ?
| 19 | Are all service and utility equipments maintained at regular intervals as per the maintenance calendar ?
| 20 | Are sensitive or critical business information documents (Hard Copy) locked away when not required ?

## PRR (hidden)
Physical access to Robi's information/ information systems from Robi's premises
ISO 27001:2013 Domain | Control | S.No | Requirements | Category | Compliance Status | Remarks
Human Resource Security | Screening | 1 | Adequate verification system must be implemented to check qualifications/ experience of the personnel employed as per the job requirements defined. Persons who have a criminal conviction must not be hired into, retained for, promoted into, or maintained in computer-related positions of trust | Critical
| Terms & conditions of employment | 2 | Non-disclosure/ confidentiality agreements/ compliance with code of conduct must be signed by all employees/contractors. The terms and conditions of employment must include the employees responsibilities for information security | Critical
| Information security awareness, education and training | 3 | Formalized training to all employees on information security policies and procedures must be imparted at the time of induction and subsequent refreshers must be conducted periodically. | Major
| Disciplinary process | 4 | A disciplinary action must be defined and communicated to all the employees/ contractors for the personnel not complying to organization's information security policy | Major
| Termination or change of employment responsibilities | 5 | Responsibilities and duties still valid after termination of employment should be contained in the employee’s or contractor’s terms and conditions of employment | Major
Asset management | Inventory of assets | 6 | The third party shall assist Robi in identification, documentation and maintenance of an inventory of information assets owned by the third party | Major
| Ownership of assets | 7 | The third party shall assist Robi in identifying a designated individual who owns the assets used by the third party to process information of Robi | Major
| Acceptable use of assets | 8 | The third party is required to ensure that its employees adhere to Robi's guidelines on acceptable use of assets | Major
| Return of assets | 9 | All third party’s employees are required return of all previously-issued software, documents, equipments, laptops, PDA, access cards, manuals, and information stored on electronic media which are used to provide services to Robi | Major
| Classification and labeling of information | 10 | The third party shall assist Robi in assigning an asset criticality rating for information asset used by the third party to provide services to Robi, to assess the relative importance of such assets to Robi and to determine the level of security measures to be implemented for their protection. The information assets shall be classified and labelled in terms of its sensitivity and criticality to the business of Robi, into one of the following categories: - Secret, Confidential, Public and Internal | Major
| Handling of assets | 11 | The third party shall follow the Robi's procedures as defined in Robi's Information Security Policy for handling for all information assets that are used to provide services to Robi | Major
Access control | Removal or adjustment of access rights | 12 | Access rights to facilities held by employees of the third party is required to be revoked upon termination or withdrawn from Robi project. Third party shall inform Robi in case of termination of employee or change in role of an employee having access to Robi's facilities | Critical
Operations security | Documented operating procedures | 13 | The third party shall assist Robi in documenting operating procedures with respect to the information processing facilities used by them to provide services to Robi, to ensure that activities performed for day-to-day system operations are carried out in a secure manner. | Major
Communications security | Confidentiality or nondisclosure agreements | 14 | The third party shall sign a Non-Disclosure Agreement with Robi | Critical
Incident management | Reporting information security events & weaknesses | 15 | The third party shall report and escalate information security events and weaknesses to Robi's Project Manager | Major
| Collection of evidence | 16 | The third party shall share the evidence corresponding to a security incident related to Robi's information with the Robi project manager, in accordance with the relevant laws | Major
Compliance | Identification of applicable legislation and contractual requirements | 17 | A list of all relevant statutory, regulatory and contractual requirements applicable on the third party's environment shall be maintained by the third party | Major
| Protection of records | 18 | All the relevant records developed by the third party for Robi shall be clearly identified as per Robi's Control of Documents & Records Procedure | Major
| Privacy and protection of personally identifiable information | 19 | Third party shall ensure that they adhere to Robi's Information Security Policy for protecting personal information of Robi's customers/ employees | Major
| Compliance with security policies and standards | 20 | The third party shall ensure that they implement all those controls applicable to them as per the requirements of Robi's Third Party Security Policy. Non-compliance may subject to consequences as mentioned in the business contract. | Major
Physical & environmental security (Only in case physical security and data center is managed by the third party) | Physical security perimeter | 21 | All entrances and exits shall be secured by an access control system to record use and prevent unauthorized entry | Critical
| Physical entry controls | 22 | All employees and visitors shall be required to wear identification badges while in the facility | Major
| Cabling security | 23 | Overhead cable trays shall may be used for management of patch cables between the racks. They shall not be used to provide structural support for the racks | Major
| Cabling security | 24 | Telecommunications cabling for data centers shall not be routed through spaces accessible by the public or by other tenants of the building unless the cables are enclosed in a conduit or other secure pathways | Major
| Cabling security | 25 | Splice boxes or pull boxes for data center cabling located in the public spaces or shared tenant spaces shall be locked and monitored by the data center security system using a camera or remote alarm or both. | Major
| Cabling security | 26 | No separation distance is required when either the data cables or the power cables are enclosed in metallic raceway or conduit that meets the following requirements: "- the metallic raceway or conduit shall completely enclose the cables and be continuous; - the metallic raceway or conduit shall be properly bonded and grounded in accordance with the applicable electrical codes; - the raceway or conduit shall be at least 1 mm (0.04 in) thick if made of galvanized (low carbon) steel or 2 mm (0.08 in) thick if made of aluminum. | Major
| Cabling security | 27 | Cables shall not be left abandoned under the access floor and overhead cable trays | Critical
| Cabling security | 28 | Telecommunications cabling under the access floor shall be in ventilated cable trays that do not block airflow | Major
| Cabling security | 29 | Metallic cable tray shall be bonded to the data center grounding infrastructure. The cable tray should have a maximum depth of 150 mm (6 in). | Major
| Cabling security | 30 | Data cables and power cables shall: 1. Be tray mounted below the raised floor 2. Not run parallel in single conduit 3. Be labelled with proper dressing 4. Be perpendicular on crossing 5. Not interact with AC Hot pipes (Suction pipes) 6. Fireproof FRLS cables should be used | Major
| Cabling security | 31 | Power strips shall : 1. Have redundant feed from different power source to each rack/ cabinet. 2. Of Rack manufacturer shall be approved by some reputed international standard. 3. Have power from different DB. Complete path should be redundant. 4. Have a fuse and fuse rating should be more than the rating of the load. 5. be bolt mounted 6. Be three Wired - dc- 2 AC - 3 7. Have no On/Off switch 8. Have plugs with interlocking facility | Major
| Cabling security | 32 | The cables passing between departments / floors shall be sealed with a material of adequate fire rating in order to restrict the spread of fire to the area of origin only | Major
| Cabling security | 33 | Loose terminations shall not exist in electrical distribution board | Major
| Cabling security | 34 | Incase there is Access Floor/Raised floor, power distribution cables should be installed under cold isle and cable tray for telecommunication cabling should be installed under hot aisles. | Major
| Cabling security | 35 | Racks/ Cabinets shall be of adequate depth to accommodate the planned equipment, including cabling at the front and/or rear, power cords, cable management hardware, and power strips, depth of upto 1.1m maximum can be used. | Major
| Cabling security | 36 | Power strips shall contain circuits that are fed from diverse power sources | Critical
| Cabling security | 37 | Power strips shall have dedicated neutral and ground conductors | Major
| Cabling security | 38 | Plug for the power strip shall be a locking plug to prevent accidental disconnection. | Major
| Cabling security | 39 | Power strips shall be labeled with the PDU/panel identifier and circuit breaker number. | Major
| Delivery and loading areas | 40 | Delivery and loading areas shall be controlled and isolated from information processing facilities to avoid unauthorized access. | Major
| Equipment maintenance | 41 | Regular maintenance of all CCTV and Access control system equipments shall be caried. | Major
| Equipment maintenance | 42 | Periodic maintenance of all the components of Building Management System shall be performed | Major
| Equipment maintenance | 43 | Electrical systems and equipments shall be tested periodically by an Independent Testing Service | Major
| Equipment maintenance | 44 | Testing of power backup systems such as UPS and Generators shall be performed with off line “load banks” | Major
| Equipment maintenance | 45 | Load testing of the backup generator shall be performed on a regular basis | Major
| Equipment maintenance | 46 | Fire detection and suppression systems shall be inspected and serviced on a regular basis throughout the facility | Major
| Equipment maintenance | 47 | Hand held fire extinguishers shall be inspected on a regular basis. The maintenance should be clearly indicated on Tag | Major
| Equipment siting and protection | 48 | A Building Management System shall be in place for monitoring the electrical and mechanical components present within the facility | Major
| Equipment siting and protection | 49 | The minimum height in the computer room shall be 2.6 m (8.5 ft) from the finished floor to any obstruction such as sprinklers, lighting fixtures, or cameras | Major
| Equipment siting and protection | 50 | Access Sections or Panels shall be provided on the raised floor | Major
| Equipment siting and protection | 51 | The raised floor structure within the data center/ server room shall be made of non-combustible material | Major
| Equipment siting and protection | 52 | All racks and cabinets within the data center/ server room/ electrical room shall be equipped with locks | Major
| Equipment siting and protection | 53 | The racks within the data center/ server room shall be fully braced to base and supported at top | Major
| Equipment siting and protection | 54 | The access door entrance to the data center shall minimum 1.5 meter (5ft) wide and not less than 2.44 meter (8 ft.) high | Major
| Equipment siting and protection | 55 | The technical rooms shall be located away from sources of electromagnetic interference. Examples of such noise sources include electrical power supply transformers, motors and generators, etc. | Major
| Equipment siting and protection | 56 | Adequate lighting provisions should be in place in all technical/electrical rooms | Major
| Equipment siting and protection | 57 | The technical room doors shall be a minimum of 1 m (3 ft) wide and 2.13 m (7 ft) | Major
| Equipment siting and protection | 58 | Communications and power equipment locations within the building shall be adequately protected with solid doors and locks | Critical
| Equipment siting and protection | 59 | AC hot pipes of the HVAC system shall be insulated | Major
| Equipment siting and protection | 60 | The hot and cold aisles with the technical room shall be uniformly arranged in an alternating pattern | Major
| Equipment siting and protection | 61 | Backup computers shall be available within the Data Centre/Server Room | Major
| Equipment siting and protection | 62 | The technical/ communications rooms and offices shall be adequately air conditioned | Major
| Equipment siting and protection | 63 | Periodic thermography of the site shall be performed to check for any overload / overheat condition | Major
| Equipment siting and protection | 64 | The line voltage for electricity service and distribution shall be continually monitored with a voltmeter that displays and records voltage and current transients | Major
| Equipment siting and protection | 65 | All electrical panels and electrical service appliances shall be labelled clearly and correctly | Major
| Equipment siting and protection | 66 | There shall be a grounding system for all critical operations equipment | Major
| Equipment siting and protection | 67 | A load coordination study shall be performed to assure that the system is not overloaded | Major
| Equipment siting and protection | 68 | Access to the fuel supply for backup generators shall be secured | Major
| Equipment siting and protection | 69 | Rubber mats shall be placed in front of electrical panels | Major
| Equipment siting and protection | 70 | There shall be an HVAC system for ensuring un-interrupted cooling of critical areas inspite of central control mechanism failure. | Major
| Equipment siting and protection | 71 | Critical equipment areas shall be equipped with temperature and humidity recording equipment | Major
| Equipment siting and protection | 72 | All HVAC pipes shall be braced for earthquake as well as vibration mounts to prevent breakage or leakage | Major
| Equipment siting and protection | 73 | HVAC pipes shall be routed away from critical operations areas | Critical
| Equipment siting and protection | 74 | There shall be an emergency lights on each floor for easy evacuation in case of an emergency situation | Major
| Equipment siting and protection | 75 | Computers and related support equipments shall be located above ground to protect them from water damage | Major
| Equipment siting and protection | 76 | Racks shall be equipped with side mounting rails to which equipment and hardware are mounted | Critical
| Equipment siting and protection | 77 | Perforated access floor tiles shall be located in the “cold” aisles | Major
| Equipment siting and protection | 78 | When placed on access floor, cabinets and racks shall be arranged so that they permit tiles in the front and rear of the cabinets and racks to be lifted. | Major
| Equipment siting and protection | 79 | Racks that are supported by the access floor shall be bolted to the cement slab or a metal channel secured to the slab by threaded rods that penetrate through the floor tiles. | Major
| Equipment siting and protection | 80 | A minimum of 1 m (3 ft) of front clearance in front of racks/ cabinets shall be provided for installation of equipment. A front clearance of 1.2 m (4 ft) is preferable to accommodate deeper equipment | Major
| Equipment siting and protection | 81 | Ventilation shall be provided for equipments in the cabinets or racks | Major
| Equipment siting and protection | 82 | Maximum rack and cabinet height shall be 2.4 m (8 ft) | Major
| Physical entry controls | 83 | Visitor badges shall be readily distinguishable from employee identification badges | Critical
| Physical entry controls | 84 | Visitors shall be escorted at all times while within the facility | Major
| Physical entry controls | 85 | Packages, brief cases or computer cases brought into the facility by visitors shall be inspected | Major
| Physical entry controls | 86 | Computers and similar equipment brought into the facility by visitors shall be registered upon entry and checked when the visitor exits the facility | Major
| Physical entry controls | 87 | Visitor badges shall be accounted for and reconciled on a daily basis | Major
| Physical entry controls | 88 | Access control system logs shall be regularly analyzed to identify unusual entry and exit patterns during off hours | Major
| Physical entry controls | 89 | All visitors to the premises shall make an entry and sign the visitor’s register and/ or visitor slip | Critical
| Physical entry controls | 90 | All portable computing, storage and recording devices e.g. Laptop, Pen drive, Camera, Camera Phones etc., shall be declared by the visitor at the reception. | Major
| Physical entry controls | 91 | Staff shall inform the security staff via email / site request form of any visitors / contractors expected for a visit along with their details such as Name, Company, Date and time expected, expected duration of stay and areas of access. | Major
| Physical entry controls | 92 | Sensitive areas within the premises shall be centrally monitored on 24x7 basis by a surveillance system | Major
| Physical entry controls | 93 | The cameras installed inside the critical areas such as Data Center/ MSC/ Server rooms, etc. shall be of high definition | Major
| Physical entry controls | 94 | All CCTV clocks shall be synchronized to the NTP server | Major
| Physical entry controls | 95 | CCTV recordings shall be archived in accordance with the organization's retention policy or as per best practice of 30 days | Major
| Physical entry controls | 96 | Each stopping of recording, for review or any change etc., shall trigger entry as an incident into the site incident register | Major
| Physical entry controls | 97 | Digital recording quality shall be checked at the start/ end of each shift, and the result noted in the relevant shift-change over register. | Major
| Physical entry controls | 98 | During the review at the shift change/ digital check, the system date and time shall be checked. If altering is required, the changes shall be done and the activity shall be duly recorded in the incident register. | Major
| Physical security perimeter | 99 | Entry of all employees/ visitors shall be logged through access control mechanism in order to enable the security staff to be aware of the count of people within the premises at any point of time | Critical
| Physical security perimeter | 100 | All entrances to the premises shall be secured by security check points | Major
| Physical security perimeter | 101 | There shall be protective roll-up grills or doors that can be closed to secure the entrance in the event of an emergency | Major
| Physical security perimeter | 102 | All entrances and exits from the premises shall be monitored by a CCTV camera | Major
| Physical security perimeter | 103 | All perimeter entry (including emergency exit) points shall have CCTV coverage, where the cameras have Pan, Tilt and Zoom (PTZ) features inbuilt with Night Vision capabilities. | Critical
| Physical security perimeter | 104 | There shall be a single point of access established for all individuals entering the premise | Major
| Physical security perimeter | 105 | The data center/ server room/ electrical room shall not have any immediate exterior / Perimeter windows | Major
| Physical security perimeter | 106 | The doors shall be fitted with locks and have either no center posts or removable center posts to facilitate access for large equipment | Major
| Protecting against external and environmental | 107 | The PA System shall cover each floor of the premises. All personnel working in the building shall be able to clearly hear any warnings/ announcements being made on the PA system irrespective of the area within the premises they are working. | Major
| Protecting against external and environmental | 108 | The entire building shall be protected by smoke detections and Warning System of the requisite type and capacity | Critical
| Protecting against external and environmental | 109 | All critical locations within the building shall have Very Early Warning Smoke Detection System (VEWSD) installed | Major
| Protecting against external and environmental | 110 | Water detectors shall be installed below the raised flooring and shall be tested regularly | Major
| Protecting against external and environmental | 111 | Emergency scenarios shall be tested/ exercised | Major
| Protecting against external and environmental | 112 | An Emergency Response Plan shall be documented for addressing natural disasters, security issues, bomb threats, biological / environmental hazards, etc. | Major
| Protecting against external and environmental | 113 | Emergency contact numbers shall be prominently displayed within the premises | Major
| Protecting against external and environmental | 114 | There shall be provisions for drainage from domestic water leakage, coolant leakage and sprinkler operation at the data center/ server room/ electrical room | Major
| Protecting against external and environmental | 115 | The data center/ server room/ electrical room shall not situated in the basement | Major
| Protecting against external and environmental | 116 | The data center/server room shall be physically separated with the UPS/ battery room through fire rated barriers in-between | Major
| Protecting against external and environmental | 117 | Rest rooms/ break rooms shall not to be located adjacent to technical / electrical rooms | Major
| Protecting against external and environmental | 118 | Water/ drain pipes shall not pass through the technical / electrical rooms | Major
| Protecting against external and environmental | 119 | Furnishings used within the Technical/Electrical room shall be of fire-resistant material | Major
| Protecting against external and environmental | 120 | UPS of more than 100KVA with flooded cell batteries shall be kept in separate room from data center | Major
| Protecting against external and environmental | 121 | Overhead water and steam pipes, except sprinklers shall be excluded from the critical operations areas | Major
| Protecting against external and environmental | 122 | Adequate drainage shall be provided under raised floors for easy removal of water | Major
| Protecting against external and environmental | 123 | Exterior doors and windows to the technical/ electrical rooms shall be watertight | Major
| Protecting against external and environmental | 124 | The facility roof shall be flat and adequately drained to prevent accumulation of water, thus resulting in leakage | Major
| Protecting against external and environmental | 125 | The drains shall be free of blockage and regularly checked | Major
| Protecting against external and environmental | 126 | All sources of water intrusion shall be periodically checked to ensure no water leakage | Major
| Protecting against external and environmental | 127 | There shall be sufficient wet vacuums, tarps, floor fans and pumps to begin immediate clean-up or emergency measures to prevent localized flooding in case of water leakage | Major
| Protecting against external and environmental | 128 | There shall be a stand alone UPS for emergency lighting | Major
| Protecting against external and environmental | 129 | The building and equipments shall be properly grounded for lightning protection | Major
| Protecting against external and environmental | 130 | The duct linings and filters of the air-conditioning equipments shall be non-combustible | Major
| Protecting against external and environmental | 131 | Plenums shall be maintained to facilitate air circulation and prevent growth of dangerous biological growths such as fungus, algae, bacteria | Major
| Protecting against external and environmental | 132 | Emergency lighting and exit signs shall be tested at least once a year | Major
| Protecting against external and environmental | 133 | Facility shall be equipped with a fire suppression system e.g., sprinklers, Co2, Halon, Intergen, FM 200 or other suppressant | Critical
| Protecting against external and environmental | 134 | Alarm panels shall be installed so that location of all smoke or heat alarms can readily be identified | Major
| Protecting against external and environmental | 135 | Fire alarms shall be strategically located throughout the premises | Major
| Protecting against external and environmental | 136 | Fire Alarm Pull stations shall be installed near emergency exits and shall be easily identified | Major
| Protecting against external and environmental | 137 | Adequate hand held fire extinguishers shall be strategically located throughout the facility with prominently located markers and operating instructions | Major
| Protecting against external and environmental | 138 | Security personnel shall be trained to use hand held fire extinguishers for A-B-C Class fires | Major
| Protecting against external and environmental | 139 | All personnel working in company facilities on a regular basis shall be provided a copy of the organization’s emergency procedures/ plans | Major
| Protecting against external and environmental | 140 | All personnel shall be made aware of assembly points outside the facility which are to be used in an emergency | Major
| Protecting against external and environmental | 141 | The assembly points shall be designated locations that will not interfere with emergency authorities and will provide adequate safety for personnel | Major
| Protecting against external and environmental | 142 | Facilities shall be equipped with emergency first aid kit | Major
| Protecting against external and environmental | 143 | Adequate space shall be available around the building for free for movement of fire brigade | Major
| Protecting against external and environmental | 144 | Fire escape routes and exit signages shall be displayed properly for emergency exit | Major
| Protecting against external and environmental | 145 | Emergency lights shall be provided in escape routes | Major
| Protecting against external and environmental | 146 | The response time for clean gas based fire suppression systems shall be within 10 seconds to fire detection / manual release | Major
| Protecting against external and environmental | 147 | Clean gas based fire suppression systems shall provide pre-discharge indication | Major
| Protecting against external and environmental | 148 | Clean gas based fire suppression systems shall be in automatic Mode (recommended) | Major
| Protecting against external and environmental | 149 | VEWSD shall be installed in data centers & be integrated with BMS | Major
| Protecting against external and environmental | 150 | The access control systems shall be disconnected when fire alarm is raised | Major
| Protecting against external and environmental | 151 | Fire safety manual shall be available at the site. The fire safety manual shall contain in detail: a. List of fire prevention, detection and control systems and fire equipment's b. Fire order and emergency response plan c. Details of floor plan along with fire fighting equipment | Major
| Protecting against external and environmental | 152 | Fire evacuation maps shall be displayed at all pre-identified locations at the site | Major
| Protecting against external and environmental | 153 | Self luminescent / self glowing marking shall be placed at all emergency doors/ exits / staircases | Major
| Protecting against external and environmental | 154 | Self luminescent signage shall be pasted on fire extinguishers alongwith user instructions and type | Major
| Protecting against external and environmental | 155 | A detailed inventory for all portable fire extinguishers shall be maintained, with data records such as date of purchase, type, location id, type, capacity, date of service/ expiry etc. | Major
| Protecting against external and environmental | 156 | All fire extinguishers and fire fighting equipment shall be maintained at fully charged level. a. Fire extinguisher maintenance record card are tagged to each extinguisher. b. User Instructions for usage are clearly marked on each fire extinguisher. They are pasted on the front side of the extinguisher or on the wall. c. Location of the fire extinguisher is visible and easily approachable. | Critical
| Protecting against external and environmental | 157 | All emergency numbers shall be posted in each floor and all working/ vulnerable areas. The list should include contact number of: • Police Station • Fire Station • Hospital and Emergency Services • Security Compliance Officer | Major
| Protecting against external and environmental | 158 | License / Clearances from Local Administrative Authorities / Law Enforcement Agencies shall be obtained and maintained for fuel storage, fire safety measures implemented and any other such requirement emerging from time to time. | Major
| Protecting against external and environmental | 159 | First Aid kits shall be available and placed at a visible place near the assembly points and security check posts at each floor of the site. Emergency kits shall be maintained centrally with the Security Manager/ Shift Security Officer. | Major
| Protecting against external and environmental | 160 | Fire wardens shall be appointed for different floors within the premises | Major
| Removal of assets Security of equipment and assets off-premises | 161 | Movement of sensitive materials out of the premises shall be allowed only after proper authorization is obtained from the appropriate authority. It shall be ensured that only authorized material from the sensitive equipment is removed as per the requirements | Major
| Securing offices, rooms and facilities | 162 | Sensitive areas within the premises (e.g., Communications rooms, Data Centre / server rooms) shall be labeled as restricted/ highly sensitive areas | Major
| Securing offices, rooms and facilities | 163 | Access to sensitive areas within the facility shall be controlled by the use of access cards/ biometric controls | Major
| Securing offices, rooms and facilities | 164 | There shall be mechanism in place to restrict access to the sensitive areas (such as data center/ server rooms/ communications room) by locking all doors in case of an incident | Major
| Supporting utilities | 165 | The Building Management System shall have an independent UPS present for its power supply | Major
| Supporting utilities | 166 | The backup air-conditioning capacity shall be available in the event of: - A single unit failure - Loss of a cooling tower - Loss of coolant - Loss of power | Major
| Supporting utilities | 167 | Surge protection shall be in place for Data Centre, PC’s, file servers, and terminals (including connected telecommunications and telephone lines) | Major
| Supporting utilities | 168 | Essential spare parts for electrical components such as fuses, filters, control boards, batteries, indicator lights, etc shall be maintained on site | Major
| Supporting utilities | 169 | The building shall have its own separate power feed | Major
| Supporting utilities | 170 | Source of main power to the building shall be redundant | Major
| Supporting utilities | 171 | An Uninterruptible Power Supply (UPS) shall be installed. | Major
| Supporting utilities | 172 | The UPS shall support the Data Centre, Server Room and Telecommunications area | Major
| Supporting utilities | 173 | The UPS shall support Telephone Communications for the Data Centre | Major
| Supporting utilities | 174 | The UPS shall support the environmental equipments | Major
| Supporting utilities | 175 | The UPS shall provide power to individual workstations | Major
| Supporting utilities | 176 | A backup generator shall be installed for the facility | Major
| Supporting utilities | 177 | The cooling tower shall be located in a secure area (not exposed in parking lot, garage or roof) | Major
| Supporting utilities | 178 | A back-up air-conditioning capacity shall be available | Major
| Supporting utilities | 179 | Air intakes shall be: - Covered with protective screening - Located above street level - Located to prevent intake of pollutants or other debris | Major
| Supporting utilities | 180 | There shall be a separate power source for the HVAC for the critical operations areas if commercial power is lost | Major
| Supporting utilities | 181 | There shall be an emergency power generator with adequate capacity | Critical
| Working in secure areas | 182 | Employees/ visitors shall be restricted from bringing firearms within the premises | Major
| Working in secure areas | 183 | The reception area within the premises shall display the following for all visitors' attention: a. Site safety norms on Fire Evacuation b. No Smoking instructions c. Restriction on items such cameras/ weapons/ mobile phones | Major
| Working in secure areas | 184 | Use of electrical appliances such as electric heaters or hot plates shall be restricted to designated areas | Major
| Working in secure areas | 185 | Trash accumulation shall be prevented in the critical operations area | Major
| Working in secure areas | 186 | Equipment and work surfaces shall be regularly cleaned | Major
| Working in secure areas | 187 | Wastebaskets shall be emptied outside the critical operations area to reduce dust discharge | Major
| Working in secure areas | 188 | Storage shall not be allowed in any un-used critical space, i.e. pallets, boxes, HVAC equipment, etc. | Critical
| Working in secure areas | 189 | “No Smoking” signs shall be posted at entryways and inside the site | Major
| Secure disposal or reuse of equipment | 190 | Equipments shall be disposed as per the media handling procedure | Major
| Unattended user equipment | 191 | Active sessions shall be terminated when finished, unless they can be secured by an appropriate locking mechanism, e.g. a password protected screen saver; | Major
|  | 192 | Users shall be made aware of log-off from applications or network services when no longer needed | Major
|  | 193 | Systems shall be password protected from unauthorized use | Major
| Clear desk and clear screen policy | 194 | Sensitive or critical business information documents (Hard Copy) shall be locked away when not required | Critical
|  | 195 | All incoming and outgoing mail points and unattended facsimile machines shall be protected | Major
|  | 196 | Unauthorised use of photocopiers and other reproduction technology (e.g., scanners, digital cameras) shall be prevented | Major
|  | 197 | Documents containing sensitive or classified information shall be removed from printers immediately | Major

## URT (hidden)
User access to Robi's information systems from Third-party's premises
ISO 27001:2013 Domain | Control | S.No | Requirements | Category | Compliance Status | Remarks
Organization of information security | Mobile device policy | 1 | The third party shall ensure: a. Personally owned mobile devices shall not be allowed for providing services to Robi. All third party organization registered devices shall only be used by the users b. Restriction on software installation shall be applied on all laptops c. Access to applications over mobile devices shall only be provided post authorization d. All laptops used for providing services to Robi shall be protected against malware | Major
Human Resource Security | Screening | 2 | Adequate verification system must be implemented to check qualifications/ experience of the personnel employed as per the job requirements defined. Persons who have a criminal conviction must not be hired into, retained for, promoted into, or maintained in computer-related positions of trust | Critical
| Terms & conditions of employment | 3 | Non-disclosure/ confidentiality agreements/ compliance with code of conduct must be signed by all employees/contractors. The terms and conditions of employment must include the employees responsibilities for information security | Critical
| Information security awareness, education and training | 4 | Formalized training to all employees on information security policies and procedures must be imparted at the time of induction and subsequent refreshers must be conducted periodically. | Major
| Disciplinary process | 5 | A disciplinary action must be defined and communicated to all the employees/ contractors for the personnel not complying to organization's information security policy | Major
| Termination or change of employment responsibilities | 6 | Responsibilities and duties still valid after termination of employment shall be contained in the employee’s or contractor’s terms and conditions of employment | Major
Asset management | Inventory of assets | 7 | Assets owned by the third party, that are used for providing services to Robi shall be identified, documented and maintained in the form of an asset inventory | Major
| Ownership of assets | 8 | The third party shall identify a designated individual as owner for the assets used by the third party to provide services to Robi | Major
| Acceptable use of assets | 9 | The third party shall follow the acceptable use of information assets as defined within Acceptable Use of Assets Standard that are used to provide services to Robi. | Major
| Return of assets | 10 | All third party’s employees are required return of all previously-issued software, documents, equipments, laptops, PDA, access cards, manuals, and information stored on electronic media which are used to provide services to Robi | Major
| Classification and labelling of information | 11 | The third party shall assess the relative importance of its owned information assets used for providing services to Robi; and determine the level of security measures to be implemented for their protection. The information assets shall be classified and labelled in terms of its sensitivity and criticality to the business of Robi, as per a defined classification criteria or into one of the following categories: - Secret, Confidential, Public and Internal | Major
| Management of removable media | 12 | By default, removable media drives should not be enabled on systems used for providing services to Robi | Major
|  | 13 | Where there is a need to use removable media, the transfer of information to such media should be monitored. All types of removable media should be registered to limit the opportunity for data loss | Major
|  | 14 | Depending upon the information classification, if data confidentiality or integrity are important considerations, cryptographic techniques should be used to protect data on removable media | Major
| Disposal of media | 15 | Depending upon the information classification, all media containing information of Robi shall be disposed off as per procedures defined in the Robi's Media Handling procesure | Major
| Physical media transfer | 16 | In order to protect the media containing Robi's information against unauthorized access, misuse or corruption during transportation, the following guidelines shall be implemented: a. Third party shall employ reliable transport or courier agencies b. Packaging standards, to protect the contents from physical damage, shall be agreed with the transport/ courier agency | Major
Access control | Removal or adjustment of access rights | 17 | Physical access rights to the third party's location and logical access to third party's information-processing facilities used for providing services to Robi shall be revoked upon termination of user or when the user is withdrawn from Robi project. Third party shall inform Robi in case of termination of employee or change in role of an employee having access to Robi's information systems | Major
| Use of secret authentication information | 18 | The third party shall ensure that users with access to its information systems that are used to provide services to Robi follow the following guidelines for use of passwords: a. Keeping the passwords confidential and avoiding the recording of passwords, unless this can be stored securely and the method of storing is approved by Robi; b. Changing passwords whenever there is any indication of possible system or password compromise; c. Choosing quality password which is easy to remember but difficult to guess; and d. Changing passwords at regular intervals or based on the number of accesses (passwords for privileged accounts shall be changed more frequently than normal passwords). | Major
Cryptography | Policy on the use of cryptographic controls | 19 | Critical information, on laptops and third party applications used for processing Robi's information (if any) shall be adequately protected (wherever required) through appropriate encryption techniques, as agreed with Robi | Major
| Key management | 20 | If cryptographic techniques are deployed, the third party shall restrict access to the encryption key data on its systems to restricted authorized users only (preferably admins) | Major
Operations security | Documented operating procedures | 21 | The third party shall document operating procedures with respect to the information processing facilities used by them to provide services to Robi, to ensure that activities performed for day-to-day system operations are carried out in a secure manner. | Major
| Change management | 22 | The third party shall develop a formal change management process for all changes pertinent to systems providing services to robi. Any changes to the systems and services supplied to Robi shall be managed in accordance with this process. | Major
| Controls against malware | 23 | A suitable antivirus shall be installed on all information systems used for providing services to robi. Signature database of the antivirus should be updated on regular basis | Major
| Information backup | 24 | The information developed by the third party for providing services to Robi shall be adequately backed up to recover from data loss incidents | Major
|  | 25 | A Backup Plan, for backing up critical business information, of use to Robi, shall be defined, and shall include: - Information to be backed up; - Name of the system hosting the information (e.g. server name); - Backup periodicity – daily, weekly, monthly, annual; and - Retention period of the data and backup storage location etc. | Major
| Restrictions on software installation | 26 | The third party shall apply the principle of least privileges for installation of software on user systems providing services to Robi | Major
Communications security | Confidentiality or nondisclosure agreements | 27 | The third party shall sign a Non-Disclosure Agreement with Robi | Critical
Supplier relationships | Information security policy for supplier relationships | 28 | The third party shall conduct an analysis and ensure that all risks due to sub-contractor access to Robi's information on third party's assets are identified, measured and mitigated appropriately before providing access to the third party's assets. | Major
| Addressing security within supplier agreements | 29 | Agreements with the sub-contractors, who are involved in providing services to Robi, shall cover information security requirements | Major
| Addressing security within supplier agreements | 30 | The third party shall ensure that their sub-contractors access its information assets containing Robi's information only after signing a formal contract and a Non-Disclosure agreement with them | Major
| Monitoring and review of supplier services | 31 | Service Level Agreements shall be defined with the sub-contractors and service performance levels shall be monitored to verify adherence to the agreements | Major
| Managing changes to supplier services | 32 | Any change to the sub-contractor services shall trigger a re-assessment of the risks, basis the criticality of the business information and the processes involved | Major
Incident management | Reporting information security events & weaknesses | 33 | The third party shall report and escalateinformation security events and weaknesses to Robi's Project Manager | Major
| Collection of evidence | 34 | The third party shall share the evidence corresponding to a security incident related to Robi's information with the Robi project manager, in accordance with the relevant laws | Major
Compliance | Identification of applicable legislation and contractual requirements | 35 | A list of all relevant statutory, regulatory and contractual requirements applicable on the third party's environment shall be maintained by the third party | Major
| Intellectual property rights | 36 | All intellectual property, such as patents, copyrights, inventions, etc., developed by a third party while employed on Robi's information systems, must be the property of Robi. All employees must return any intellectual property provided or developed during the period of the employment after termination of their employment with the organization. | Major
| Protection of records | 37 | All the relevant records developed by the third party for Robi shall be clearly identified as per Robi's Control of Documents & Records Procedure | Major
| Privacy and protection of personally identifiable information | 38 | third party shall ensure that they adhere to Robi's Information Security Policy for protecting personal information of Robi's customers/ employees | Major
| Regulation of cryptographic controls | 39 | The appropriate cryptographic controls applied shall be in compliance with the relevant agreements, laws, and regulations | Major
| Independent review of information security | 40 | The third party shall conduct an independent review of security controls on its systems used for providing services to Robi. The results of the independent review shall be shared with Robi | Major
| Compliance with security policies and standards | 41 | The third party shall ensure that they implement all those controls applicable to them. Non-compliance may subject to penalty charges as mentioned in the business contract. | Major
Physical & environmental | Physical security perimeter | 42 | All entrances and exits shall be secured by an access control system to record use and to prevent unauthorized entry | Major
| Physical entry controls | 43 | Security guards shall be stationed at all entrances to the premises | Major
|  | 44 | All visitors to the premises shall make an entry and sign the visitor’s register and/ or visitor slip | Major
|  | 45 | All portable computing, storage and recording devices e.g. Laptop, Pen drive, Camera, Camera Phones etc., shall be declared by the visitor at the reception. | Major
| Securing offices, rooms and facilities and working in secure areas | 46 | Staff shall inform the security staff via email / site request form of any visitors / contractors expected for a visit along with their details such as Name, Company, Date and time expected, expected duration of stay and areas of access. | Major
|  | 47 | All perimeter entry (including emergency exit) points shall have CCTV coverage, where the cameras have Pan, Tilt and Zoom (PTZ) features inbuilt with Night Vision capabilities. | Major
| Protecting against external and environmental threats | 48 | The PA System shall cover each floor of the premises. All personnel working in the building shall be able to clearly hear any warnings/ announcements being made on the PA system irrespective of the area within the premises they are working. | Major
|  | 49 | There shall be an emergency lights on each floor for easy evacuation in case of an emergency situation | Major
| Protecting against external and environmental threats | 50 | Facilities shall be equipped with emergency first aid kit. First Aid kits shall be available and placed at a visible place near the assembly points and security check posts at each floor of the site. Emergency kits shall be maintained centrally with the Security Manager/ Shift Security Officer. | Major
|  | 51 | Adequate hand held fire extinguishers shall be strategically located throughout the facility with prominently located markers | Major
|  | 52 | Fire escape routes and exit signage shall be displayed properly for emergency exit | Major
|  | 53 | Self luminescent / self glowing marking shall be placed at all emergency doors/ exits / staircases | Major
| Removal of assets | 54 | Assets contining Robi's information shall be recorded as being removed off-site and recorded when returned. | Major
| Security of equipment and assets off-premises | 55 | The third party shall ensure that all the information has been deleted before the equipment containing Robi's information is taken out of its premises | Major
| Secure disposal or reuse of equipment | 56 | User equipments containing Robi's information shall be disposed as per the procedures defined in Media Handling Procesure | Major
| Unattended user equipment | 57 | Active sessions shall be terminated when finished, unless they can be secured by an appropriate locking mechanism, e.g. a password protected screen saver; | Major
|  | 58 | Users shall be made aware of log-off from applications or network services when no longer needed | Major
|  | 59 | Systems shall be password protected from unauthorized use | Major
| Clear desk and clear screen policy | 60 | Sensitive or critical business information documents (Hard Copy) shall be locked away when not required | Major
|  | 61 | Documents containing sensitive or classified Robi information shall be removed from printers immediately | Major

## ART (hidden)
Admin access to Robi's information systems from Third-party's premises
ISO 27001:2013 Domain | Control | S.No | Requirements | Category | Compliance Status | Remarks
Organization of information security | Segregation of Duties | 1 | Segregation of Duties Matrix must be formed for all processes performed for providing services to robi . The same must be reviewed periodically and exceptions must be reported to the third party Spoc from Robi. | Major
| Mobile device policy | 2 | The third party shall ensure: a. Personally owned mobile devices shall not be allowed for providing services to Robi. All third party organization registered devices shall only be used by the users b. Restriction on software installation shall be applied on all laptops c. Access to applications over mobile devices shall only be provided post authorization d. All laptops used for providing services to Robi shall be protected against malware | Major
Human Resource Security | Screening | 3 | Adequate verification system must be implemented to check qualifications/ experience of the personnel employed as per the job requirements defined. Persons who have a criminal conviction must not be hired into, retained for, promoted into, or maintained in computer-related positions of trust | Critical
| Terms & conditions of employment | 4 | Non-disclosure/ confidentiality agreements/ compliance with code of conduct must be signed by all employees/contractors. The terms and conditions of employment must include the employees responsibilities for information security | Critical
| Information security awareness, education and training | 5 | Formalized training to all employees on information security policies and procedures must be imparted at the time of induction and subsequent refreshers must be conducted periodically. | Major
| Disciplinary process | 6 | A disciplinary action must be defined and communicated to all the employees/ contractors for the personnel not complying to organization's information security policy | Major
| Termination or change of employment responsibilities | 7 | Responsibilities and duties still valid after termination of employment shall be contained in the employee’s or contractor’s terms and conditions of employment | Major
Asset management | Inventory of assets | 8 | Assets owned by the third party, that are used for providing services to Robi shall be identified, documented and maintained in the form of an asset inventory | Major
| Ownership of assets | 9 | The third party shall identify a designated individual as owner for the assets used by the third party to provide services to Robi | Major
| Acceptable use of assets | 10 | The third party shall follow the acceptable use of information assets as defined within Acceptable Use of Assets Standard that are used to provide services to Robi. | Major
| Return of assets | 11 | All third party’s employees are required return of all previously-issued software, documents, equipments, laptops, PDA, access cards, manuals, and information stored on electronic media which are used to provide services to Robi | Major
| Classification and labelling of information | 12 | The third party shall assess the relative importance of its owned information assets used for providing services to Robi; and determine the level of security measures to be implemented for their protection. The information assets shall be classified and labelled in terms of its sensitivity and criticality to the business of Robi, as per a defined classification criteria or into one of the following categories: - Secret, Confidential, Public and Internal | Major
| Management of removable media | 13 | By default, removable media drives should not be enabled on systems used for providing services to Robi | Major
|  | 14 | Where there is a need to use removable media, the transfer of information to such media should be monitored. All types of removable media should be registered to limit the opportunity for data loss | Major
|  | 15 | Depending upon the information classification, if data confidentiality or integrity are important considerations, cryptographic techniques should be used to protect data on removable media | Major
| Disposal of media | 16 | Depending upon the information classification, all media containing information of Robi shall be disposed off as per procedures defined in the Robi's Media Handling procesure | Major
| Physical media transfer | 17 | In order to protect the media containing Robi's information against unauthorized access, misuse or corruption during transportation, the following guidelines shall be implemented: a. Third party shall employ reliable transport or courier agencies b. Packaging standards, to protect the contents from physical damage, shall be agreed with the transport/ courier agency | Major
Access control | Access control policy and access to networks and network services | 18 | The third party shall develop and implement an access control rules and rights for physical and logical access to all information systems/ equipments/ network devices that are used to provide services to Robi | Major
| User registration and de-registration | 19 | There must be a formal user registration and de-registration procedure defined for granting and revoking access to all multi-user information systems and services. | Major
|  | 20 | Generic User ID or Shared User ID shall not be defined for granting access to information or information processing systems. Any exceptions must be reported to Robi Project Manager | Major
|  | 21 | All users shall have a single unique user ID and a secret password for access to Robi's multi-user computers and computer networks. | Critical
|  | 22 | Every user ID established for a non-third party user must have a specified expiration date, with a default expiration of 30 days where the actual expiration is unknown. | Major
|  | 23 | User IDs shall be immediately disabled or removed for users who have left the organization. Additionally, user IDs shall be disabled after 60 days of inactivity | Major
| User access provisioning | 24 | Access to information, information processing systems and services must be provided only to the authorized personnel after adequate approval from the management. | Major
|  | 25 | List of people authorized to approve request for logical access to employees/contractors shall be maintained and reviewed. | Major
|  | 26 | List of all users with access to the information systems and their respective privileges shall be maintained | Major
| Management of privileged access rights | 27 | Privilege levels shall be defined on the ‘least privilege’ basis, i.e., the minimum privilege required for fulfilling the functional role | Major
|  | 28 | All activities performed by the privileged users including the following shall be logged and be reflected in the systems period audit trails. • New User ID creation; • Privilege level changes; and • Deletion of User ID | Major
|  | 29 | Employees who are assigned high level privileges must use a different login for normal business use. | Critical
| Management of secret authentication information of users | 30 | Default vendor passwords shall be changed on all information systems | Critical
|  | 31 | Passwords shall not be displayed during logon. Password fields shall be masked (e.g. displaying only asterisks) during logon so that a user’s password cannot be seen by an onlooker. | Critical
| Management of secret authentication information of users | 32 | Robi's password management standard shall be used for all passwords | Critical
| Review of user access rights | 33 | Access rights for all users, including privileges users shall be reviewed regularly (atleast once a year) | Major
| Removal or adjustment of access rights | 34 | Access rights of an individual shall be removed or suspended upon termination. On the designated last date of a user, the Custodian shall disable the user ID within 24 hours or 1 business day. Third party shall inform Robi in case of termination of employee or change in role of an employee having access to Robi's information systems | Critical
| Use of secret authentication information | 35 | The third party shall ensure that users with access to Robi's information systems follow the following guidelines for use of passwords: a. Keeping the passwords confidential and avoiding the recording of passwords, unless this can be stored securely and the method of storing is approved by Robi; b. Changing passwords whenever there is any indication of possible system or password compromise; c. Choosing quality password which is easy to remember but difficult to guess; and d. Changing passwords at regular intervals or based on the number of accesses (passwords for privileged accounts shall be changed more frequently than normal passwords). | Major
| Information access restriction | 36 | Access to application systems shall be restricted to users who require them. The system administrator or the person performing the equivalent role shall maintain the updated user access matrix detailing privileges assigned to them. | Major
| Secure log-on procedures | 37 | The identity of a user accessing any systems storing/ processing Robi's information shall be validated | Critical
|  | 38 | Inactive sessions shall be terminated after 15 mins of inactivity | Critical
|  | 39 | The system shall be configured to ensure that if an error condition arises, the system does not indicate which part of the data (username or password) is correct or incorrect | Major
| Password management system | 40 | Systems shall not store passwords in clear text. Systems shall only store passwords either in encrypted form or as hash values with a seed. | Critical
|  | 41 | Third party shall ensure that password forced-change is performed on first use | Major
|  | 42 | Third party shall ensure that users cannot automatically record their system passwords to enable fast pre-authenticated system access | Major
| Use of privileged utility programs | 43 | Access to utility programs (e.g. Batch Files, Unix Scripts etc.) which are capable of changing configuration parameters on the system shall be restricted only to authorised personnel | Major
| Access control to program source code | 44 | The program source code shall be protected by central storage of such code, preferably in program source libraries. Access to the program source libraries shall be available to authorized users only | Major
Cryptography | Policy on the use of cryptographic controls | 45 | Critical information, on third party's systems/ applications, used for providing services to Robi, shall be protected (wherever required) through appropriate encryption techniques, as agreed with Robi | Major
| Key management | 46 | If cryptographic techniques are deployed, the third party shall restrict access to the encryption key data on its systems to restricted authorized users only (preferably admins) | Major
Operations security | Documented operating procedures | 47 | The third party shall document operating procedures with respect to the information processing facilities used by them to provide services to Robi, to ensure that activities performed for day-to-day system operations are carried out in a secure manner. | Major
| Change management | 48 | The third party shall develop a formal change management process for all changes pertinent to systems providing services to Robi. Any changes to the systems and services supplied to Robi shall be managed in accordance with this process. | Major
| Capacity management | 49 | Capacity management shall be in place to enable forecasts of future requirements and to ensure system performance | Major
| Separation of test, development and operational environments | 50 | Development, test and operational facilities shall be separated to reduce the risk of unauthorised access to operational systems | Major
| Controls against malware | 51 | Antivirus software shall be installed on all systems to check and isolate or remove any malware. Signature database of the antivirus shall be updated on regular basis | Critical
| Information backup | 52 | The information pertaining to Robi shall be adequately backed up to recover from data loss incidents | Major
|  | 53 | A Backup Plan, for backing up critical business information, of use to Robi, shall be defined, and shall include: - Information to be backed up; - Name of the system hosting the information (e.g. server name); - Backup periodicity – daily, weekly, monthly, annual; and - Retention period of the data and backup storage location etc. | Major
|  | 54 | Restoration-testing shall be conducted for the backed up data at regular intervals. Log analysis shall be carried out for all failed backup and restorations and corrective actions shall be taken. | Major
| Event logging | 55 | Audit logs of user activities, system events and system administration activities shall be produced, retained and protected against tampering | Critical
| Protection of log information | 56 | The third party shall ensure that access to logs shall be provided only on a ‘need-to-know’ and ‘need-to-have’ basis | Major
| Administrator and operator logs | 57 | System administrator and system operator activities shall be logged. The logs shall be reviewed by an independent person so as to identify any malpractices happening. | Major
| Clock synchronization | 58 | Clocks of all information systems shall be synchronized with the Robi's Network Time Protocol (NTP) server | Critical
| Installation of software on operational systems | 59 | Applications and operating system software shall only be implemented after extensive and successful testing. Previous versions of application software shall be retained as a contingency measure | Major
|  | 60 | A rollback strategy shall be in place before changes are implemented | Major
| Management of technical vulnerabilities | 61 | Appropriate measures (as agreed with Robi) shall be taken to address the risk associated with the identified technical vulnerabilities. Timelines shall be defined to respond to technical vulnerabilities observed in the system. | Major
|  | 62 | All patch management shall be followed using Robi's Patch Management Process | Major
| Restrictions on software installation | 63 | The third party shall apply the principle of least privileges for installation of software on systems providing services to Robi | Major
Communications security | Agreements on information transfer | 64 | The agreements with sub-contractors (if any) shall include the minimum standards to be practiced for protection of confidential information (including access controls, encryption, etc.) | Major
| Electronic messaging | 65 | The third party shall ensure that its E-mail system is not vulnerable to unauthorised access, modification and/or misuse and shall implement relevant E-mail security guidelines (applicable to their organisation), consisting of appropriate security measures in order to protect information of Robi | Major
| Confidentiality or nondisclosure agreements | 66 | The third party shall sign a Non-Disclosure Agreement with Robi | Critical
System acquisition, development and maintenance | Information security requirements analysis and specification | 67 | All new application systems developed/to be deployed by the third party to provide services to Robi shall be formally reviewed before being deployed in the production environment. | Major
| Securing application services on public networks | 68 | Information involved in critical application services passing over public networks shall be adequately protected from fraudulent activity by deploying techniques such as digital certificates/ encryption | Critical
| Protecting application services transactions | 69 | The third party shall ensure that the storage of the transaction details is located outside of any publicly accessible environment | Major
| Secure development policy | 70 | The third party shall employ secure coding practices both for new developments and in code re-use scenarios. | Major
| System change control procedures | 71 | Change control procedures as per Robi's Change Management Process | Major
| Technical review of applications after operating platform changes | 72 | There shall be a technical review of business critical applications following upgrades to operating systems | Major
| Restrictions on changes to software packages | 73 | As far as possible the vendor supplied software packages shall be used without modification. If changes are deemed essential the original software shall be retained and the changes shall be applied only to a clearly identified copy. All changes shall be clearly tested and documented, so they can be reapplied if necessary to future software upgrades. | Major
| Secure system engineering principles | 74 | Correct processing of applications shall be assured by validation of data input and output, processing controls and integrity check | Major
| Secure development environment | 75 | Access to the development environment shall be controlled by providing access only on 'need to have' basis | Major
| Outsourced development | 76 | Outsourced software shall be tested before installation to detect malicious and Trojan code. | Major
|  | 77 | For the customised software developed by third party's sub-contractor, the arrangements pertaining to licensing, code ownership and the intellectual property rights shall be documented in the contract between third party and its sub-contractor. | Major
| System security testing | 78 | Security tests shall be conducted for in-house as well as outsourced developments | Major
| System acceptance testing | 79 | Testing shall be performed in a realistic test environment to ensure that the system will not introduce vulnerabilities to the organization’s environment | Major
| Protection of test data | 80 | The third party shall ensure that system test data is protected and controlled. Use of personal information or any sensitive information for testing shall be prohibited. | Major
Supplier relationships | Information security policy for supplier relationships | 81 | The third party shall conduct an analysis and ensure that all risks due to sub-contractor access to Robi's information on third party's assets are identified, measured and mitigated appropriately before providing access to the third party's assets. | Major
| Addressing security within supplier agreements | 82 | Agreements with the sub-contractors, who are involved in providing services to Robi, shall cover information security requirements | Major
|  | 83 | The third party shall ensure that their sub-contractors access its information assets containing Robi's information only after signing a formal contract and a Non-Disclosure agreement with them | Major
| Information and communication technology supply chain | 84 | The third party shall ensure that the critical components/ IT systems are accredited to industry security standards | Major
|  | 85 | The third party shall consider the security requirements in agreements with its sub-contractors providing information and communication technology product or services | Major
| Monitoring and review of supplier services | 86 | Service Level Agreements shall be defined with the sub-contractors and service performance levels shall be monitored to verify adherence to the agreements | Major
| Managing changes to supplier services | 87 | Any change to the sub-contractor services shall trigger a re-assessment of the risks, basis the criticality of the business information and the processes involved | Major
Incident management | Reporting information security events & weaknesses | 88 | The third party shall report and escalate information security events and weaknesses to Robi's Project Manager | Major
| Collection of evidence | 89 | The third party shall share the evidence corresponding to a security incident related to Robi's information with the Robi project manager, in accordance with the relevant laws | Major
Compliance | Identification of applicable legislation and contractual requirements | 90 | A list of all relevant statutory, regulatory and contractual requirements applicable on the third party's environment shall be maintained by the third party | Major
| Intellectual property rights | 91 | All intellectual property, such as patents, copyrights, inventions, etc., developed by a third party while employed on Robi's information systems, must be the property of Robi. All employees must return any intellectual property provided or developed during the period of the employment after termination of their employment with the organization. | Major
| Protection of records | 92 | All the relevant records developed by the third party for Robi shall be clearly identified as per Robi's Control of Documents & Records Procedure | Major
| Privacy and protection of personally identifiable information | 93 | third party shall ensure that they adhere to Robi's Information Security Policy for protecting personal information of Robi's customers/ employees | Major
| Regulation of cryptographic controls | 94 | The appropriate cryptographic controls applied shall be in compliance with the relevant agreements, laws, and regulations | Major
| Independent review of information security | 95 | The third party shall conduct an independent review of security controls on its systems used for providing services to Robi. The results of the independent review shall be shared with Robi | Major
| Compliance with security policies and standards | 96 | The third party shall ensure that they implement all those controls applicable to them. Non-compliance may subject to penalty charges as mentioned in the business contract. | Major
| Technical compliance review | 97 | Information systems shall be regularly checked for compliance with security standards through vulnerability assessments and penetration testing of systems/ network devices that are used to provide services to Robi | Major
|  | 98 | All identified vulnerabilities shall be analysed and fixed within a definite time-frame. Robi reserves the right to review the vulnerability closure report and / or conduct technical compliance checking on third party network. | Major
Physical & environmental | Physical security perimeter | 99 | All entrances and exits shall be secured by an access control system to record use and to prevent unauthorized entry | Major
| Physical entry controls | 100 | Security guards shall be stationed at all entrances to the premises | Major
|  | 101 | All visitors to the premises shall make an entry and sign the visitor’s register and/ or visitor slip | Major
|  | 102 | All portable computing, storage and recording devices e.g. Laptop, Pen drive, Camera, Camera Phones etc., shall be declared by the visitor at the reception. | Major
| Securing offices, rooms and facilities and working in secure areas | 103 | Staff shall inform the security staff via email / site request form of any visitors / contractors expected for a visit along with their details such as Name, Company, Date and time expected, expected duration of stay and areas of access. | Major
|  | 104 | All perimeter entry (including emergency exit) points shall have CCTV coverage, where the cameras have Pan, Tilt and Zoom (PTZ) features inbuilt with Night Vision capabilities. | Major
| Protecting against external and environmental threats | 105 | The PA System shall cover each floor of the premises. All personnel working in the building shall be able to clearly hear any warnings/ announcements being made on the PA system irrespective of the area within the premises they are working. | Major
|  | 106 | There shall be an emergency lights on each floor for easy evacuation in case of an emergency situation | Major
| Protecting against external and environmental threats | 107 | Facilities shall be equipped with emergency first aid kit. First Aid kits shall be available and placed at a visible place near the assembly points and security check posts at each floor of the site. Emergency kits shall be maintained centrally with the Security Manager/ Shift Security Officer. | Major
| Protecting against external and environmental threats | 108 | Adequate hand held fire extinguishers shall be strategically located throughout the facility with prominently located markers | Major
|  | 109 | Fire escape routes and exit signage shall be displayed properly for emergency exit | Major
|  | 110 | Self luminescent / self glowing marking shall be placed at all emergency doors/ exits / staircases | Major
| Removal of assets | 111 | Assets contining Robi's information shall be recorded as being removed off-site and recorded when returned. | Major
| Security of equipment and assets off-premises | 112 | The third party shall ensure that all the information has been deleted before the equipment containing Robi's information is taken out of its premises | Major
| Secure disposal or reuse of equipment | 113 | User equipments containing Robi's information shall be disposed as per the procedures defined in Media Handling Procesure | Major
| Unattended user equipment | 114 | Active sessions shall be terminated when finished, unless they can be secured by an appropriate locking mechanism, e.g. a password protected screen saver; | Major
|  | 115 | Users shall be made aware of log-off from applications or network services when no longer needed | Major
|  | 116 | Systems shall be password protected from unauthorized use | Major
| Clear desk and clear screen policy | 117 | Sensitive or critical business information documents (Hard Copy) shall be locked away when not required | Major
|  | 118 | Documents containing sensitive or classified Robi information shall be removed from printers immediately | Major

## PRT (hidden)
Physical access to Robi's information/ information systems from Third-party's premises
ISO 27001:2013 Domain | Control | S.No | Requirements | Category | Compliance Status | Remarks
Organization of information security | Contact with authorities | 1 | The third party shall ensure that appropriate contacts are established with all local authorities such as Fire, Police, Hospital(s) and Ambulance which may contacted in case of an emergency | Major
Human Resource Security | Screening | 2 | Adequate verification system must be implemented to check qualifications/ experience of the personnel employed as per the job requirements defined. Persons who have a criminal conviction must not be hired into, retained for, promoted into, or maintained in computer-related positions of trust | Critical
| Terms & conditions of employment | 3 | Non-disclosure/ confidentiality agreements/ compliance with code of conduct must be signed by all employees/contractors. The terms and conditions of employment must include the employees responsibilities for information security | Critical
| Information security awareness, education and training | 4 | Formalized training to all employees on information security policies and procedures must be imparted at the time of induction and subsequent refreshers must be conducted periodically. | Major
| Disciplinary process | 5 | A disciplinary action must be defined and communicated to all the employees/ contractors for the personnel not complying to organization's information security policy | Major
| Termination or change of employment responsibilities | 6 | Responsibilities and duties still valid after termination of employment should be contained in the employee’s or contractor’s terms and conditions of employment | Major
Asset management | Inventory of assets | 7 | Assets owned by the third party, that are used for providing services to Robi shall be identified, documented and maintained in the form of an asset inventory | Major
| Ownership of assets | 8 | The third party shall identify a designated individual as owner for the assets used by the third party to provide services to Robi | Major
| Acceptable use of assets | 9 | The third party shall develop rules for acceptable use of information assets that are used to provide services to Robi or follow Robi's Acceptable Use of Assets Standard. The third party shall enforce such rules to ensure that its employees adhere to the guidelines on acceptable use of assets as developed by them | Major
| Return of assets | 10 | All third party’s employees are required return of all previously-issued software, documents, equipments, laptops, PDA, access cards, manuals, and information stored on electronic media which are used to provide services to Robi | Major
|  | 11 | Access rights provided to employees on information, information assets and/or processing facilities that are used to provide services to Robi shall be reduced/changed/revoked depending on whether the employee undergoes role transformation, or is withdrawn from robi project or resigns from the organization | Critical
| Classification and labelling of information | 12 | The third party shall assess the relative importance of its owned information assets used for providing services to Robi; and determine the level of security measures to be implemented for their protection. The information assets shall be classified and labelled in terms of its sensitivity and criticality to the business of Robi, as per a defined classification criteria or into one of the following categories: - Secret, Confidential, Public and Internal | Major
| Handling of assets | 13 | The third party shall develop formal guidelines for handling of all its information assets or follow Robi's guidelines. This may exclude public information. | Major
| Disposal of media | 14 | Depending upon the information classification, all media containing information of Robi shall be disposed off as per procedures defined in the Robi Third Party Security Policy | Major
| Physical media transfer | 15 | In order to protect the media containing Robi information against unauthorized access, misuse or corruption during transportation, the following guidelines shall be implemented: a. Third party shall employ reliable transport or couriers b. Packaging standards, to protect the contents from physical damage, shall be agreed with the transport/ courier agency | Major
Access control | Access control policy | 16 | The third party shall develop and implement an access control rules and rights for physical access to all information systems/ equipments/ network devices that are used to provide services to Robi | Major
| Review of user access rights | 17 | Physical access to location within the third party premises used to provide services to Robi shall be reviewed at regular intervals, using a formal process. | Major
| Removal or adjustment of access rights | 18 | Physical access rights to the third party's location used for providing services to Robi shall be revoked upon termination of user or when the user is withdrawn from Robi project. Third party shall inform Robi in case of termination of employee or change in role of an employee having access to Robi's facilities | Critical
Operations security | Documented operating procedures | 19 | The third party shall assist Robi in documenting operating procedures with respect to the information processing facilities used by them to provide services to Robi, to ensure that activities performed for day-to-day system operations are carried out in a secure manner. | Major
Communications security | Confidentiality or nondisclosure agreements | 20 | The third party shall sign a Non-Disclosure Agreement with Robi | Critical
Supplier relationships | Information security policy for supplier relationships | 21 | The third party shall conduct an analysis and ensure that all risks due to sub-contractor physical access to assets containing Robi's information are identified, measured and mitigated appropriately before providing access | Major
| Addressing security within supplier agreements | 22 | Agreements with the sub-contractors, who are involved in providing services to Robi, shall cover information security requirements. E.g.: NDA/ Confidentiality clauses | Major
| Monitoring and review of supplier services | 23 | Service Level Agreements shall be defined with the sub-contractors and service performance levels shall be monitored to verify adherence to the agreements | Major
| Managing changes to supplier services | 24 | Any change to the sub-contractor services shall trigger a re-assessment of the risks, basis the criticality of the business information and the processes involved | Major
Incident management | Responsibilities and procedures | 25 | A formal Information Security Incident Management Process shall be developed and implemented within the third party organisation. Responsibilities for reporting and handling of incidents shall be defined and communicated | Major
| Reporting information security events & weaknesses | 26 | The third party shall establish a framework for reporting, responding to and escalating information security events and weaknesses. | Major
| Assessment of and decision on information security events | 27 | Each reported incident shall be assessed to ascertain if it's a security incident. The third party shall classify and prioritize incidents basis the impact and extent of an incident. | Major
| Response to information security incidents | 28 | Procedures/ Plans shall be established by the third party to ensure a quick, effective and orderly response to information security incidents pertaining to Robi's information assets | Major
| Learning from information security incidents | 29 | The third party shall identify, document and disseminate learnings from the security incidents to the appropriate stakeholders having physical access Robi's information assets to reduce their recurrence | Major
| Collection of evidence | 30 | The third party shall retain the evidence corresponding to a security incident related to Robi's information assets, in accordance with the relevant laws | Major
Information security aspects of business continuity management | Planning information security continuity | 31 | The third party shall plan for continuity of services to robi in case of an information security/ business continuity incident (except for force majeure scenarios as defined in the agreement with Robi) by development of site emergency management plans | Major
| Implementing information security continuity | 32 | The developed plans shall be implemented to maintain and restore the operations and ensure the availability of services that are used to provide services to Robi at the required level and time scales. | Major
| Verify, review and evaluate information security continuity | 33 | As applicable, the third party shall exercise and test the plans to ensure that they meet their objectives such as fire drills | Major
Compliance | Identification of applicable legislation and contractual requirements | 34 | A list of all relevant statutory, regulatory and contractual requirements applicable on the third party's environment shall be maintained by the third party | Major
| Intellectual property rights | 35 | All intellectual property, such as patents, copyrights, inventions, etc., developed by a third party while employed on Robi's information systems, must be the property of Robi. | Major
|  | 36 | All employees must return any intellectual property provided or developed during the period of the employment after termination of their employment with the organization. | Major
| Protection of records | 37 | All the relevant records developed by the third party for Robi shall be clearly identified as per Robi's Control of Documents & Records Procedure | Major
| Privacy and protection of personally identifiable information | 38 | third party shall ensure that they adhere to Robi's Third Party Security Policy for protecting personal information of Robi's customers/ employees | Major
| Compliance with security policies and standards | 39 | The third party shall ensure that they implement all those controls applicable to them as per the requirements of Robi's Third Party Security Policy. Non-compliance may subject to consequences as mentioned in the business contract. | Major
Physical & environmental | Physical security perimeter | 40 | All entrances and exits shall be secured by an access control system to record use and to prevent unauthorized entry | Critical
| Physical entry controls | 41 | Security guards shall be stationed at all entrances to the premises | Major
|  | 42 | The reception area within the premises shall display the following for all visitors' attention: a. Site safety norms on Fire Evacuation b. No Smoking instructions c. Restriction on items such cameras/ weapons/ mobile phones d. Right of Search Procedures | Major
|  | 43 | All visitors to the premises shall make an entry and sign the visitor’s register and/ or visitor slip. All portable computing, storage and recording devices e.g. Laptop, Pen drive, Camera, Camera Phones etc., shall be declared by the visitor at the reception. | Major
|  | 44 | All employees and visitors shall be required to wear identification badges while in the facility | Major
|  | 45 | Visitor badges shall be accounted for and reconciled on a daily basis | Major
|  | 46 | Visitors shall be escorted at all times while within the facility | Major
| Securing offices, rooms and facilities and working in secure areas | 47 | All entrances and exits from the data centre, including restricted areas shall be monitored by a CCTV camera | Critical
|  | 48 | Access to sensitive areas within the facility shall be controlled by the use of access cards/ biometric controls | Critical
|  | 49 | All CCTV clocks shall be synchronized to the NTP server | Major
|  | 50 | CCTV recordings shall be archived in accordance with the organization's retention policy or as per best practice of 30 days | Major
|  | 51 | Digital recording quality shall be checked at the start/ end of each shift, and the result noted in the relevant shift-change over register. | Major
|  | 52 | During the review at the shift change/ digital check, the system date and time shall be checked. If altering is required, the changes shall be done and the activity shall be duly recorded in the incident register. | Major
|  | 53 | “No Smoking” signs shall be posted at entryways and inside the site | Major
| Protecting against external and environmental threats | 54 | There shall be protective roll-up grills or doors that can be closed to secure the entrance and elevator lobby in the event of an emergency | Major
|  | 55 | The PA System shall cover each floor of the premises. All personnel working in the building shall be able to clearly hear any warnings/ announcements being made on the PA system irrespective of the area within the premises they are working. | Major
|  | 56 | The entire building shall be protected by smoke detections and Warning System of the requisite type and capacity | Critical
|  | 57 | Access to the fuel supply for backup generators shall be secured | Major
|  | 58 | There shall be an emergency lights on each floor for easy evacuation in case of an emergency situation | Major
|  | 59 | Facilities shall be equipped with emergency first aid kit | Major
|  | 60 | First Aid kits shall be available and placed at a visible place near the assembly points and security check posts at each floor of the site. Emergency kits shall be maintained centrally with the Security Manager/ Shift Security Officer. | Major
|  | 61 | Adequate hand held fire extinguishers shall be strategically located throughout the facility with prominently located markers | Critical
|  | 62 | A detailed inventory for all portable fire extinguishers shall be maintained, with data records such as date of purchase, type, location id, type, capacity, date of service/ expiry etc. | Major
|  | 63 | All fire extinguishers and fire fighting equipment shall be maintained at fully charged level. a. Fire extinguisher maintenance record card are tagged to each extinguisher. b. User Instructions for usage are clearly marked on each fire extinguisher. They are pasted on the front side of the extinguisher or on the wall. c. Location of the fire extinguisher is visible and easily approachable. | Major
|  | 64 | The fire extinguishers shall be made of carbon steel and painted red after installation and testing | Major
|  | 65 | Security personnel shall be trained to use hand held fire extinguishers for A-B-C Class fires | Major
|  | 66 | Self luminescent signage shall be pasted on fire extinguishers along with user instructions and type | Major
|  | 67 | Fire Alarm Pull stations shall be installed near emergency exits and shall be easily identified | Major
|  | 68 | The access control systems shall be disconnected when fire alarm is raised | Major
|  | 69 | All personnel shall be made aware of assembly points outside the facility which are to be used in an emergency | Major
|  | 70 | The assembly points shall be designated locations that will not interfere with emergency authorities and will provide adequate safety for personnel | Major
|  | 71 | Fire escape routes and exit signage shall be displayed properly for emergency exit. Self luminescent / self glowing marking shall be placed at all emergency doors/ exits / staircases | Major
|  | 72 | Fire evacuation maps shall be displayed at all pre-identified locations at the site | Major
|  | 73 | License / Clearances from Local Administrative Authorities / Law Enforcement Agencies shall be obtained and maintained for fuel storage, fire safety measures implemented and any other such requirement emerging from time to time. | Critical
|  | 74 | Fire wardens shall be appointed for different floors within the premises | Major
|  | 75 | Emergency contact numbers shall be prominently displayed within the premises | Major
|  | 76 | An Emergency Response Plan shall be documented for addressing natural disasters, security issues, bomb threats, biological / environmental hazards, etc. | Major
|  | 77 | All emergency numbers shall be posted in each floor and all working/ vulnerable areas. The list should include contact number of: • Police Station • Fire Station • Hospital and Emergency Services • Security Compliance Officer | Major
| Delivery and loading areas | 78 | Access to a delivery and/or loading area from outside of the building shall be restricted to identified and authorized personnel only | Major
|  | 79 | Supplies shall be loaded/ unloaded without the delivery personnel gaining access to other parts of the building | Major
| Clear desk and clear screen policy | 80 | Sensitive or critical business information documents (Hard Copy) related to Robi shall be locked away when not required. Documents containing Robi's sensitive or classified information shall be removed from printers immediately | Critical
|  | 81 | All incoming and outgoing mail points and unattended facsimile machines shall be protected | Major
|  | 82 | Unauthorised use of photocopiers and other reproduction technology (e.g., scanners, digital cameras) shall be prevented | Major

## Evaluation
Response_Vendor | Result
Complied | 0
Not Complied | 0
Not Applicable | 0
Total | 0
Complied (%) | #DIV/0!