## SOTC
Appendix E: Statement of Technical Compliance (SOTC) List (BIDDER MUST STATE HIS COMPLIANCE TO ALL CLAUSES OF DRAFT CONTRACT PROVISIONS AND ANNEXES)
SOTC against Annex-1
Clause Reference | Title of the Clause | Comply (FC/PC/NC) | Shared DOCYes/No (document mandatory if FC/PC) | Remarks
Annex-1 | Agreed with shared RFQ doc/SOW
Annex-1 | Service provider will ensure necessary survey as per the requirement for the mentioned scopes on top of existing live 11KV/0.4KV sub-station and line.
Annex-1 | The Service provider works comprises all the required paper works (necessary drawing, authority document, etc.), all permission, license, certificate on top of current sub-station document, all necessary persuasions to ensure the connectivity within stipulated time for the mentioned new Express/VIP 33KV/11KV and 11KV/0.4KV overhead/underground power line successful E2E connectivity.
Annex-1 | To ensure all the necessary Implementation and commissioning of Express/VIP 33KV/11KV or 11KV/0.4 KV Overhead or Underground (As applicable) including all require materials and permissions (All kind of authority, locality etc.) as per power authority recommended standard and quality.
Annex-1 | To ensure all grounding and protection systems as per power authority standard including all materials, implementation and commissioning if require on top of existing protection system of Robi Core sites.
Annex-1 | To ensure all the authority payment and return or adjustment of the earlier deposited security fund as applicable.
Annex-1 | Power Connection with all required formalities i.e, ELB, Load Sanction, Load Clearance and/or any others. Supply and install HT Metering Unit with necessary clearance/ approval from Power Authority.
Annex-1 | All the necessary dismantle and return to warehouse related to the mentioned E2E connectivity works.
Annex-1 | All the equipment including necessary protection system, switchgear, Circuit breaker on top of the existing equipment etc but not limited to.
Annex-1 | All the required cables HT, LT and control cables
Annex-1 | Any meter if required.
Annex-1 | Submission of technical BOQ
Annex-1 | Supply, installation, commissioning & testing
Annex-1 | All the supplied items & delivered scopes shall remain under warranty for 05 (Five) years
Annex-1 | KPI of New Express/VIP 33KV/11KV commercial power line E2E connection by 60 days after PO
Annex-1 | LD closes reffer to RFQ document
Annex-1 | Responsibility matrix reffer to RFQ document
Annex-1 | Delivery & Installation time
Annex-1 | Support/Team Competency
Annex-1 | 33KV/11KV sub-station and overhead line installation & maintenance experience
Annex-1 | 11KV over head line installation and maintenance
Annex-1 | Industry reference (Power sector/Telecom/Data center ref)
Annex-1 | Service & delivery compiance
Annex-1 | Pre-PAT, PAT & FAC
Note:
• Fully Compliant (FC) shall be understood as: Bidder fully complies with the contract clause / requirement
• Partially Compliant (PC) shall be understood as: Bidder partially complies with the contract clause / requirement
• Non-Compliant (NC) shall be understood as: Bidder does not complies with the contract clause / requirement
• If no statement of compliance has been given to a certain requirement, then the requirement will be considered as Fully Complied to by the Bidder.
• “Fully Compliant” Sections and Sub-sections shall not be negotiated upon.
• The Bidder is requested to propose an alternative text for all Partially Compliant (PC) or Non Compliant (NC) articles in the contractual parts of RFP.
• The bidder has to go serially & insert rows to cover their resonse against all line items of the Annex-1, Annex-2 and Annex-3
Signature
Name of the Signatory
Desigtation of the Signatory
Name of the Company
Date